## 166_62U
S&C Positrol Fuse Links | [9 empty] | S&C Positrol Fuse Links | [9 empty] | S&C Positrol Fuse Links | [9 empty] | S&C Positrol Fuse Links
Universal and Extra Performance Styles | [9 empty] | Universal and Extra Performance Styles | [9 empty] | Universal and Extra Performance Styles | [9 empty] | Universal and Extra Performance Styles
"QR" Speed (TCC 166-6-2) | [9 empty] | "QR" Speed (TCC 166-6-2) | [9 empty] | "QR" Speed (TCC 166-6-2) | [9 empty] | "QR" Speed (TCC 166-6-2)
Total Clearing Time-Current Characteristic Curves Dated February 23, 1987 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated February 23, 1987 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated February 23, 1987 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated February 23, 1987
Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus.
1QR |  | 2QR |  | 3QR |  | 5QR |  | 7QR |  | 10QR |  | 15QR |  | 20QR |  | 25QR |  | 30QR |  | 40QR |  | 50QR |  | 60QR |  | 75QR |  | 100QR |  | 125QR |  | 150QR SP |  | 150QR |  | 175QR |  | 200QR
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
10000 | 0.013445 | 10000 | 0.013445 | 10000 | 0.013445 | 10000 | 0.013378 | 10000 | 0.013445 | 10000 | 0.013378 | 10000 | 0.013364 | 10000 | 0.013378 | 10000 | 0.013378 | 10000 | 0.013378 | 10000 | 0.013566 | 10000 | 0.013868 | 10000 | 0.013868 | 10000 | 0.014376 | 10000 | 0.015053 | 10000 | 0.016938 | 10000 | 0.019022 | 10000 | 0.018534 | 9743.35 | 0.022547 | 10000 | 0.025093
1556.72 | 0.013472 | 1559.84 | 0.013485 | 1558.28 | 0.013485 | 2322.36 | 0.013378 | 2385.92 | 0.01358 | 3072.79 | 0.013378 | 2964.13 | 0.013404 | 4382.35 | 0.013391 | 7512.62 | 0.013445 | 7572.97 | 0.013431 | 8967.3 | 0.013593 | 8589.88 | 0.013882 | 9212.72 | 0.013965 | 9314.61 | 0.014594 | 9483.8 | 0.015189 | 9531.33 | 0.017263 | 9370.67 | 0.019877 | 9714.16 | 0.01887 | 9370.67 | 0.02328 | 9811.79 | 0.0256
1164.84 | 0.013539 | 1345.26 | 0.013499 | 1347.95 | 0.013526 | 2068.01 | 0.013445 | 2025.03 | 0.013634 | 2719.87 | 0.013485 | 2525.87 | 0.013512 | 3851.97 | 0.013499 | 5909.64 | 0.013499 | 6921.17 | 0.013499 | 7756.92 | 0.013634 | 7749.16 | 0.013993 | 8478.93 | 0.014078 | 8710.98 | 0.014829 | 8780.95 | 0.015403 | 8851.48 | 0.017843 | 8624.31 | 0.021086 | 9380.05 | 0.019309 | 8958.34 | 0.024206 | 9333.26 | 0.026886
1013.68 | 0.013593 | 1166.01 | 0.013526 | 1211.17 | 0.013634 | 1897.59 | 0.013499 | 1790.66 | 0.013662 | 2364.54 | 0.013593 | 2262.76 | 0.013648 | 3433.52 | 0.013607 | 5304.66 | 0.013512 | 6350.83 | 0.013566 | 6824.95 | 0.013703 | 7032.8 | 0.014134 | 7664.39 | 0.014262 | 8122.07 | 0.015098 | 8244.82 | 0.015667 | 8311.04 | 0.018441 | 7953.28 | 0.022389 | 9012.25 | 0.019838 | 8564.15 | 0.025219 | 8728.42 | 0.028806
876.856 | 0.013662 | 1013.68 | 0.01358 | 1081.75 | 0.013744 | 1760.48 | 0.013553 | 1633.27 | 0.013716 | 2178.39 | 0.013703 | 2065.94 | 0.013771 | 2970.07 | 0.013799 | 4852.94 | 0.013566 | 5850.84 | 0.013662 | 6114.02 | 0.013813 | 6414.65 | 0.014333 | 7046.88 | 0.014448 | 7542.73 | 0.015403 | 7679.73 | 0.01608 | 7913.62 | 0.018946 | 7572.97 | 0.023164 | 8512.92 | 0.020585 | 8220.12 | 0.026222 | 8236.58 | 0.030679
805.403 | 0.01373 | 876.856 | 0.013662 | 947.989 | 0.013896 | 1623.5 | 0.013621 | 1464.6 | 0.013826 | 2016.95 | 0.013799 | 1903.29 | 0.013924 | 2714.44 | 0.013965 | 4439.69 | 0.013675 | 5315.28 | 0.013813 | 5576.63 | 0.013951 | 5821.66 | 0.014535 | 6537.7 | 0.014637 | 6990.73 | 0.015746 | 7225.27 | 0.016471 | 7482.63 | 0.019601 | 7068.05 | 0.024547 | 8041.25 | 0.021511 | 7834.87 | 0.027456 | 7764.68 | 0.032772
751.704 | 0.013785 | 791.036 | 0.013799 | 835.761 | 0.014106 | 1495.68 | 0.013689 | 1334.54 | 0.013924 | 1886.24 | 0.013938 | 1657.95 | 0.014219 | 2493.24 | 0.014148 | 4065.7 | 0.013771 | 4901.71 | 0.013951 | 5137.59 | 0.014078 | 5288.77 | 0.014785 | 5992.96 | 0.014859 | 6531.16 | 0.016096 | 6797.7 | 0.016905 | 7082.2 | 0.020279 | 6663.1 | 0.025935 | 7618.54 | 0.022479 | 7283.31 | 0.029624 | 7356.5 | 0.034904
691.832 | 0.013882 | 725.124 | 0.013965 | 741.995 | 0.014348 | 1356.06 | 0.013771 | 1209.96 | 0.014092 | 1708.45 | 0.014134 | 1507.7 | 0.014463 | 2246.97 | 0.01442 | 3730.66 | 0.01391 | 4364.86 | 0.014191 | 4686.03 | 0.014305 | 4882.15 | 0.014993 | 5504.6 | 0.015083 | 6053.19 | 0.016504 | 6312.84 | 0.017524 | 6616.62 | 0.021255 | 6275.07 | 0.027401 | 7210.84 | 0.023537 | 6811.31 | 0.031645 | 6990.73 | 0.037062
639.28 | 0.013979 | 665.37 | 0.014106 | 660.068 | 0.014623 | 1249.3 | 0.01384 | 1099.2 | 0.014276 | 1588.17 | 0.014305 | 1372.43 | 0.014814 | 2037.22 | 0.014681 | 3409.57 | 0.014092 | 4057.57 | 0.014333 | 4334.41 | 0.014492 | 4511.3 | 0.015235 | 5111.97 | 0.015342 | 5689.29 | 0.016871 | 5886.05 | 0.018258 | 6231.3 | 0.022278 | 5821.66 | 0.029624 | 6845.45 | 0.024596 | 6389.05 | 0.03394 | 6603.4 | 0.040028
585.428 | 0.014134 | 612.374 | 0.014305 | 605.069 | 0.014859 | 1131.54 | 0.013938 | 999.588 | 0.014506 | 1486.74 | 0.014463 | 1266.91 | 0.015113 | 1890.01 | 0.014933 | 3048.3 | 0.014348 | 3749.36 | 0.014521 | 3981.21 | 0.014696 | 4181.14 | 0.015496 | 4728.39 | 0.015667 | 5368.7 | 0.017229 | 5428.08 | 0.019251 | 5886.05 | 0.02328 | 5433.51 | 0.031931 | 6459.71 | 0.025883 | 5927.4 | 0.036951 | 6231.3 | 0.043146
537.185 | 0.014319 | 554.099 | 0.01455 | 539.878 | 0.01525 | 1062.46 | 0.014007 | 886.555 | 0.014829 | 1387.61 | 0.014608 | 1169.51 | 0.015465 | 1717.01 | 0.015281 | 2728.04 | 0.014637 | 3399.35 | 0.01474 | 3653.13 | 0.014948 | 3859.68 | 0.015809 | 4421.97 | 0.015984 | 5035.86 | 0.017683 | 5153.03 | 0.019957 | 5466.21 | 0.024818 | 5005.74 | 0.035219 | 5980.98 | 0.027955 | 5559.93 | 0.039988 | 5921.47 | 0.046413
488.502 | 0.014535 | 496.381 | 0.014844 | 483.641 | 0.015746 | 1009.63 | 0.014078 | 769.963 | 0.015281 | 1271.99 | 0.014814 | 1075.28 | 0.015936 | 1567.66 | 0.015667 | 2510.76 | 0.014859 | 3048.3 | 0.015023 | 3338.71 | 0.01525 | 3573.64 | 0.016161 | 4151.98 | 0.01634 | 4775.91 | 0.018112 | 4785.47 | 0.021064 | 5137.59 | 0.026274 | 4634.76 | 0.038729 | 5515.62 | 0.030526 | 5189.23 | 0.04358 | 5598.98 | 0.050128
436.306 | 0.014829 | 450.493 | 0.015129 | 440.25 | 0.016307 | 955.603 | 0.014162 | 691.14 | 0.015715 | 1177.72 | 0.014993 | 995.597 | 0.016438 | 1458.76 | 0.016064 | 2303.86 | 0.015144 | 2769.27 | 0.015296 | 3082.02 | 0.015574 | 3318.74 | 0.016553 | 3906.28 | 0.016736 | 4524.85 | 0.018627 | 4470.88 | 0.022322 | 4804.65 | 0.028011 | 4295.57 | 0.042759 | 5111.97 | 0.033268 | 4946.03 | 0.046553 | 5347.26 | 0.053763
394.786 | 0.015144 | 407.216 | 0.015512 | 408.031 | 0.016854 | 887.442 | 0.014262 | 624.12 | 0.016161 | 1088.26 | 0.015189 | 925.508 | 0.017023 | 1356.06 | 0.016487 | 2053.58 | 0.015496 | 2520.82 | 0.015589 | 2828.04 | 0.015952 | 3091.28 | 0.016938 | 3671.44 | 0.01716 | 4308.48 | 0.019136 | 4181.14 | 0.023632 | 4515.81 | 0.029982 | 3985.19 | 0.047731 | 4653.34 | 0.037025 | 4671.99 | 0.05043 | 5061.11 | 0.058241
349.444 | 0.015574 | 368.096 | 0.016016 | 371.052 | 0.017647 | 847.544 | 0.014362 | 562.473 | 0.016736 | 1010.64 | 0.015419 | 852.645 | 0.017718 | 1261.86 | 0.017006 | 1873.08 | 0.015841 | 2355.1 | 0.015857 | 2626.32 | 0.01634 | 2890.95 | 0.017333 | 3450.73 | 0.017683 | 4143.68 | 0.019582 | 3875.15 | 0.025295 | 4235.85 | 0.032188 | 3738.13 | 0.052593 | 4269.88 | 0.041454 | 4404.32 | 0.054904 | 4780.69 | 0.063408
315.558 | 0.016 | 331.406 | 0.016653 | 335.742 | 0.018664 | 809.44 | 0.014463 | 506.408 | 0.017437 | 946.095 | 0.015621 | 789.455 | 0.01846 | 1183.63 | 0.017542 | 1742.96 | 0.016209 | 2206.89 | 0.016177 | 2463.5 | 0.016753 | 2700.9 | 0.017789 | 3220.66 | 0.018423 | 3985.19 | 0.020037 | 3605.95 | 0.026966 | 4001.16 | 0.034522 | 3471.49 | 0.058826 | 3937.65 | 0.046413 | 4151.98 | 0.060015 | 4515.81 | 0.06931
286.96 | 0.016553 | 300.168 | 0.017385 | 307.152 | 0.01968 | 766.123 | 0.014579 | 458.217 | 0.018276 | 891.89 | 0.015841 | 715.759 | 0.019601 | 1095.91 | 0.018331 | 1630.01 | 0.016636 | 2074.22 | 0.016553 | 2285.5 | 0.017367 | 2520.82 | 0.018441 | 3011.94 | 0.019213 | 3771.92 | 0.020751 | 3362.16 | 0.028979 | 3787.04 | 0.036803 | 3236.8 | 0.065732 | 3602.34 | 0.052593 | 3817.46 | 0.068552 | 4265.61 | 0.07561
261.476 | 0.017194 | 272.692 | 0.018276 | 278.758 | 0.020834 | 728.759 | 0.014696 | 405.59 | 0.01968 | 838.272 | 0.016145 | 665.37 | 0.020565 | 1032.09 | 0.019041 | 1516.77 | 0.017194 | 1939.8 | 0.017057 | 2120.36 | 0.018076 | 2359.82 | 0.019136 | 2802.7 | 0.020117 | 3552.26 | 0.021706 | 3072.79 | 0.03174 | 3627.65 | 0.039001 | 3066.65 | 0.071994 | 3312.11 | 0.059835 | 3499.38 | 0.079249 | 3977.23 | 0.084995
234.708 | 0.018058 | 237.779 | 0.019818 | 245.021 | 0.022773 | 690.45 | 0.014874 | 361.891 | 0.021191 | 798.187 | 0.016421 | 617.293 | 0.021771 | 971.987 | 0.019858 | 1400.16 | 0.017914 | 1805.04 | 0.017612 | 1963.22 | 0.018908 | 2200.28 | 0.019977 | 2579.47 | 0.021361 | 3358.8 | 0.02275 | 2836.54 | 0.034834 | 3426.66 | 0.042165 | 2888.06 | 0.079328 | 2978.99 | 0.070569 | 3207.8 | 0.09189 | 3700.93 | 0.096119
210.681 | 0.019155 | 211.102 | 0.021469 | 220.819 | 0.024547 | 657.433 | 0.015038 | 332.401 | 0.022728 | 757.742 | 0.01677 | 573.262 | 0.023094 | 899.953 | 0.021064 | 1278.37 | 0.018984 | 1662.94 | 0.018441 | 1835.99 | 0.019759 | 2033.15 | 0.021191 | 2376.4 | 0.022796 | 3182.24 | 0.023893 | 2650.07 | 0.03766 | 3217.44 | 0.046228 | 2709.01 | 0.088198 | 2719.87 | 0.081989 | 2967.1 | 0.10549 | 3379.02 | 0.11212
187.981 | 0.020401 | 186.67 | 0.023467 | 197.027 | 0.026886 | 623.496 | 0.01525 | 303.488 | 0.024596 | 714.329 | 0.017212 | 527.602 | 0.024843 | 826.618 | 0.022614 | 1188.37 | 0.019957 | 1555.17 | 0.01929 | 1676.29 | 0.021022 | 1897.59 | 0.022502 | 2211.31 | 0.024206 | 3002.92 | 0.025345 | 2508.25 | 0.04039 | 2984.96 | 0.051603 | 2553.81 | 0.097474 | 2468.44 | 0.096891 | 2738.98 | 0.12207 | 3085.1 | 0.13197
168.737 | 0.021815 | 165.231 | 0.025961 | 179.171 | 0.029212 | 588.362 | 0.015512 | 272.692 | 0.027129 | 661.39 | 0.017896 | 493.905 | 0.026406 | 760.779 | 0.024351 | 1102.5 | 0.021191 | 1448.58 | 0.020279 | 1572.37 | 0.022078 | 1767.53 | 0.023989 | 2037.22 | 0.026039 | 2791.52 | 0.02721 | 2359.82 | 0.043754 | 2783.15 | 0.057546 | 2393.09 | 0.10946 | 2267.29 | 0.1128 | 2508.25 | 0.14411 | 2876.53 | 0.15014
152.832 | 0.023233 | 146.693 | 0.028806 | 164.736 | 0.031614 | 556.32 | 0.015778 | 247.979 | 0.029832 | 619.147 | 0.018627 | 460.054 | 0.028491 | 705.808 | 0.026143 | 1021.82 | 0.022614 | 1314.67 | 0.02188 | 1476.37 | 0.023326 | 1643.1 | 0.025883 | 1922.42 | 0.027566 | 2602.79 | 0.029359 | 2217.95 | 0.047875 | 2584.64 | 0.065078 | 2262.76 | 0.12158 | 2055.63 | 0.1341 | 2242.49 | 0.17761 | 2658.03 | 0.17409
136.776 | 0.025118 | 128.168 | 0.032707 | 152.527 | 0.034247 | 523.922 | 0.016096 | 226.862 | 0.032772 | 576.712 | 0.019523 | 427.239 | 0.030864 | 660.068 | 0.028067 | 941.376 | 0.024327 | 1216.02 | 0.02342 | 1353.35 | 0.025295 | 1525.9 | 0.027899 | 1799.64 | 0.029654 | 2409.9 | 0.031995 | 2101.36 | 0.052018 | 2400.28 | 0.073596 | 2137.39 | 0.13531 | 1843.35 | 0.16527 | 2012.92 | 0.21759 | 2441.43 | 0.20328
117.842 | 0.028095 | 111.647 | 0.037697 | 137.599 | 0.038305 | 500.368 | 0.016372 | 208.584 | 0.036111 | 534.506 | 0.020442 | 396.368 | 0.033737 | 617.293 | 0.030223 | 864.666 | 0.026406 | 1114.7 | 0.025447 | 1255.56 | 0.027401 | 1347.95 | 0.031995 | 1679.65 | 0.031963 | 2226.84 | 0.035219 | 1971.09 | 0.057145 | 2200.28 | 0.08491 | 2012.92 | 0.15211 | 1672.94 | 0.19727 | 1783.51 | 0.27358 | 2274.1 | 0.23127
102.14 | 0.031582 | 99.8177 | 0.042589 | 127.02 | 0.041955 | 468.878 | 0.016736 | 187.981 | 0.041165 | 492.918 | 0.021684 | 361.529 | 0.037848 | 570.974 | 0.033102 | 791.827 | 0.028893 | 1008.62 | 0.027955 | 1161.35 | 0.029802 | 1244.31 | 0.035254 | 1585 | 0.034212 | 2072.15 | 0.038652 | 1803.24 | 0.065535 | 2027.06 | 0.097182 | 1895.69 | 0.17253 | 1524.37 | 0.23524 | 1573.94 | 0.34883 | 2095.07 | 0.26924
90.6808 | 0.035114 | 89.0632 | 0.048598 | 119.145 | 0.045585 | 439.371 | 0.017194 | 173.529 | 0.045722 | 458.676 | 0.022933 | 336.414 | 0.041704 | 520.268 | 0.03721 | 734.612 | 0.031237 | 931.078 | 0.030404 | 1075.28 | 0.032576 | 1111.36 | 0.040593 | 1488.22 | 0.036951 | 1920.5 | 0.042759 | 1676.29 | 0.073743 | 1819.54 | 0.11577 | 1781.73 | 0.19668 | 1365.59 | 0.294 | 1390.39 | 0.44881 | 1914.75 | 0.31849
80.5071 | 0.039275 | 88.7076 | 0.048842 | 113.108 | 0.048598 | 417.107 | 0.017612 | 157.33 | 0.052593 | 426.812 | 0.024351 | 308.383 | 0.047162 | 486.065 | 0.040796 | 678.811 | 0.034281 | 850.941 | 0.033703 | 994.602 | 0.035716 | 1003.59 | 0.046693 | 1402.96 | 0.039908 | 1751.7 | 0.048842 | 1535.08 | 0.085849 | 1657.95 | 0.13531 | 1686.38 | 0.22444 | 1236.87 | 0.35802 | 1253.05 | 0.55037 | 1762.24 | 0.37338
71.1895 | 0.044371 | 78.3625 | 0.056803 | 110.095 | 0.05043 | 394.391 | 0.018112 | 139.121 | 0.062903 | 399.552 | 0.025909 | 286.673 | 0.052646 | 449.593 | 0.045585 | 624.12 | 0.037924 | 787.09 | 0.036988 | 914.468 | 0.040068 | 926.434 | 0.052488 | 1312.04 | 0.043623 | 1581.83 | 0.056803 | 1408.58 | 0.099942 | 1498.68 | 0.16346 | 1575.52 | 0.26206 | 1142.92 | 0.42056 | 1140.63 | 0.66554 | 1628.38 | 0.4386
65.5194 | 0.048259 | 69.0856 | 0.066194 | 98.0371 | 0.059596 | 374.407 | 0.018645 | 121.067 | 0.078382 | 364.798 | 0.028292 | 261.476 | 0.060436 | 419.617 | 0.050329 | 575.56 | 0.041913 | 719.346 | 0.04133 | 858.634 | 0.04393 | 851.792 | 0.059715 | 1243.07 | 0.047162 | 1448.58 | 0.064948 | 1282.21 | 0.11834 | 1373.8 | 0.1924 | 1495.68 | 0.29696 | 1058.21 | 0.49304 | 1057.16 | 0.7818 | 1522.85 | 0.5025
58.1105 | 0.055069 | 62.0752 | 0.076676 | 88.0008 | 0.069449 | 358.649 | 0.019079 | 107.484 | 0.094405 | 336.751 | 0.030833 | 230.983 | 0.073375 | 392.424 | 0.05529 | 530.778 | 0.04688 | 664.705 | 0.04609 | 793.412 | 0.048989 | 790.245 | 0.067262 | 1168.34 | 0.051914 | 1333.2 | 0.074336 | 1154.4 | 0.14354 | 1250.55 | 0.22966 | 1401.56 | 0.3464 | 984.706 | 0.57398 | 984.706 | 0.9065 | 1414.23 | 0.58557
50.5188 | 0.064431 | 54.2361 | 0.091158 | 79.2293 | 0.08158 | 340.475 | 0.019739 | 95.7122 | 0.11439 | 312.106 | 0.033636 | 209.002 | 0.086193 | 362.978 | 0.062401 | 478.829 | 0.054304 | 621.629 | 0.050835 | 735.347 | 0.05474 | 740.513 | 0.074783 | 1102.5 | 0.056407 | 1219.67 | 0.086539 | 1053.99 | 0.17014 | 1156.71 | 0.26549 | 1302.89 | 0.41472 | 877.733 | 0.72967 | 915.383 | 1.0617 | 1322.58 | 0.6729
44.1391 | 0.075308 | 47.5768 | 0.10946 | 72.6277 | 0.09384 | 319.368 | 0.020524 | 85.9139 | 0.1364 | 291.588 | 0.03651 | 188.358 | 0.10278 | 339.116 | 0.069449 | 433.696 | 0.062903 | 573.262 | 0.057546 | 662.714 | 0.064366 | 689.07 | 0.08474 | 1031.06 | 0.062401 | 1116.93 | 0.10115 | 957.516 | 0.2043 | 1062.46 | 0.3125 | 1231.93 | 0.47943 | 806.209 | 0.87445 | 856.062 | 1.2298 | 1229.47 | 0.78729
39.0306 | 0.086972 | 42.2391 | 0.1291 | 64.6731 | 0.11359 | 301.07 | 0.02149 | 77.0416 | 0.16593 | 271.875 | 0.040108 | 172.663 | 0.11989 | 312.731 | 0.079249 | 399.152 | 0.071779 | 512.522 | 0.068827 | 602.654 | 0.075308 | 632.919 | 0.09767 | 957.516 | 0.070358 | 1032.09 | 0.11612 | 868.131 | 0.24606 | 980.775 | 0.36672 | 1152.1 | 0.57398 | 713.615 | 1.1375 | 798.986 | 1.4317 | 1140.63 | 0.92297
34.5479 | 0.10064 | 37.8014 | 0.1515 | 57.4748 | 0.13819 | 284.958 | 0.022367 | 68.6037 | 0.20328 | 248.475 | 0.045449 | 154.987 | 0.146 | 289.844 | 0.090251 | 366.993 | 0.081907 | 470.287 | 0.079328 | 540.418 | 0.091066 | 583.091 | 0.11257 | 899.054 | 0.078147 | 934.81 | 0.13846 | 795.001 | 0.29283 | 919.972 | 0.4168 | 1083.92 | 0.68034 | 649.591 | 1.4033 | 754.717 | 1.6353 | 1065.65 | 1.0691
30.9492 | 0.11554 | 33.8299 | 0.17832 | 50.9246 | 0.16777 | 268.632 | 0.02349 | 60.2406 | 0.25713 | 230.291 | 0.050683 | 140.238 | 0.17567 | 265.428 | 0.10507 | 333.734 | 0.096023 | 435.87 | 0.08989 | 478.35 | 0.11212 | 536.112 | 0.12962 | 825.792 | 0.090612 | 852.645 | 0.16314 | 727.303 | 0.35128 | 864.666 | 0.47751 | 1014.69 | 0.81289 | 614.214 | 1.6029 | 702.99 | 1.9325 | 1005.6 | 1.22
27.6699 | 0.1333 | 30.58 | 0.2076 | 44.5827 | 0.2078 | 246.003 | 0.025295 | 54.5079 | 0.30723 | 213.224 | 0.05686 | 128.81 | 0.20635 | 245.021 | 0.12037 | 304.705 | 0.11201 | 399.552 | 0.10402 | 422.565 | 0.13957 | 495.885 | 0.1485 | 763.828 | 0.10402 | 767.657 | 0.19708 | 664.705 | 0.42267 | 820.032 | 0.53732 | 971.016 | 0.91745 | 577.867 | 1.8494 | 653.5 | 2.3045 | 950.837 | 1.3852
24.7381 | 0.15441 | 27.6423 | 0.24362 | 39.5018 | 0.2533 | 226.635 | 0.027129 | 48.6838 | 0.37675 | 196.83 | 0.064173 | 116.903 | 0.24879 | 220.378 | 0.14527 | 281.841 | 0.12833 | 371.052 | 0.11822 | 379.306 | 0.16895 | 460.054 | 0.16946 | 705.808 | 0.11977 | 699.484 | 0.23383 | 611.762 | 0.50502 | 780.819 | 0.598 | 915.383 | 1.0756 | 545.849 | 2.1294 | 615.443 | 2.672 | 898.155 | 1.5854
22.2278 | 0.17832 | 24.7877 | 0.29108 | 35.07 | 0.30815 | 209.63 | 0.029183 | 43.3951 | 0.46619 | 181.697 | 0.073449 | 105.356 | 0.30387 | 204.045 | 0.16677 | 256.812 | 0.15211 | 336.414 | 0.14055 | 336.414 | 0.20947 | 426.385 | 0.19395 | 643.771 | 0.14154 | 646.998 | 0.27086 | 567.558 | 0.59621 | 733.878 | 0.68649 | 870.74 | 1.2335 | 515.606 | 2.4666 | 579.024 | 3.1325 | 834.091 | 1.8867
19.8926 | 0.2076 | 22.3616 | 0.34467 | 31.5744 | 0.36782 | 194.483 | 0.03133 | 38.6422 | 0.58091 | 166.891 | 0.084571 | 95.3301 | 0.36966 | 187.981 | 0.19395 | 232.373 | 0.18339 | 309.929 | 0.16265 | 304.4 | 0.25179 | 398.753 | 0.21977 | 588.362 | 0.16643 | 590.13 | 0.32073 | 533.438 | 0.68581 | 693.217 | 0.77712 | 839.95 | 1.3728 | 487.038 | 2.8629 | 549.134 | 3.6105 | 770.734 | 2.277
17.2075 | 0.25457 | 20.1327 | 0.41141 | 27.5319 | 0.46666 | 177.566 | 0.03435 | 34.93 | 0.71023 | 153.906 | 0.097572 | 86.3446 | 0.44702 | 174.748 | 0.22198 | 212.585 | 0.21824 | 289.554 | 0.18284 | 271.603 | 0.31063 | 369.941 | 0.2533 | 531.84 | 0.20045 | 547.489 | 0.37003 | 500.868 | 0.79361 | 656.12 | 0.87533 | 815.126 | 1.5248 | 464.213 | 3.2866 | 519.228 | 4.2285 | 713.615 | 2.7342
14.8106 | 0.31438 | 17.9636 | 0.4965 | 24.664 | 0.56543 | 161.312 | 0.038 | 31.0732 | 0.89033 | 140.66 | 0.1145 | 77.8159 | 0.54982 | 162.771 | 0.25305 | 191.779 | 0.26496 | 269.709 | 0.20843 | 249.222 | 0.36708 | 345.967 | 0.28876 | 486.065 | 0.23736 | 503.379 | 0.43511 | 467.941 | 0.92205 | 611.15 | 1.0252 | 788.666 | 1.7174 | 445.12 | 3.7167 | 490.95 | 4.992 | 674.076 | 3.1704
12.684 | 0.39488 | 16.0121 | 0.60704 | 21.9408 | 0.69756 | 148.019 | 0.041997 | 27.6976 | 1.1262 | 127.784 | 0.13572 | 71.7613 | 0.64781 | 150.407 | 0.29283 | 175.624 | 0.31659 | 242.34 | 0.25305 | 223.708 | 0.45696 | 322.255 | 0.33282 | 450.493 | 0.2755 | 465.142 | 0.50806 | 439.81 | 1.0713 | 574.41 | 1.1839 | 761.54 | 1.9618 | 425.108 | 4.271 | 467.006 | 5.8524 | 645.06 | 3.5853
11.016 | 0.48619 | 14.3012 | 0.74441 | 19.6553 | 0.85542 | 132.468 | 0.048067 | 25.339 | 1.3646 | 116.203 | 0.16151 | 65.9796 | 0.76862 | 138.012 | 0.34398 | 161.797 | 0.37488 | 220.819 | 0.30084 | 205.684 | 0.53893 | 301.371 | 0.38321 | 419.617 | 0.31627 | 435.434 | 0.57455 | 415.027 | 1.231 | 537.185 | 1.381 | 736.82 | 2.2296 | 406.402 | 4.9572 | 450.493 | 6.6515 | 616.059 | 4.0953
9.9976 | 0.5643 | 13.0703 | 0.87883 | 17.7848 | 1.0417 | 116.786 | 0.056407 | 23.5316 | 1.6158 | 106.521 | 0.18916 | 61.4575 | 0.89748 | 128.296 | 0.39449 | 148.91 | 0.44212 | 202.622 | 0.35411 | 185.925 | 0.6609 | 280.997 | 0.44168 | 394.391 | 0.36018 | 413.784 | 0.63689 | 393.997 | 1.4019 | 507.93 | 1.5854 | 707.221 | 2.6035 | 390.467 | 5.7136 | 435.87 | 7.6129 | 589.54 | 4.6919
8.9026 | 0.67695 | 11.7558 | 1.082 | 15.9163 | 1.3058 | 102.652 | 0.067262 | 21.9847 | 1.8981 | 94.2872 | 0.23927 | 57.1881 | 1.0521 | 119.384 | 0.45241 | 137.736 | 0.5178 | 182.061 | 0.4325 | 173.529 | 0.77247 | 263.84 | 0.50502 | 367.728 | 0.4168 | 395.972 | 0.69826 | 371.052 | 1.6386 | 475.013 | 1.8605 | 675.426 | 3.0859 | 379.306 | 6.4227 | 422.143 | 8.9786 | 565.858 | 5.3433
7.8566 | 0.83014 | 10.7118 | 1.3045 | 14.5464 | 1.587 | 88.8852 | 0.082483 | 20.335 | 2.3021 | 86.6906 | 0.28248 | 53.2685 | 1.2409 | 109.765 | 0.53251 | 124.132 | 0.63562 | 168.569 | 0.50049 | 159.867 | 0.93038 | 246.989 | 0.58382 | 339.116 | 0.49502 | 380.065 | 0.76249 | 354.016 | 1.8661 | 449.593 | 2.1124 | 647.645 | 3.6177 | 367.728 | 7.3953 | 407.623 | 11.0767 | 545.304 | 6.208
7.0805 | 0.9889 | 9.7703 | 1.5902 | 13.3344 | 1.9481 | 77.5053 | 0.10105 | 18.9224 | 2.7617 | 79.8656 | 0.33382 | 49.7667 | 1.4388 | 102.447 | 0.61253 | 114.13 | 0.75718 | 156.076 | 0.58557 | 150.557 | 1.0627 | 230.983 | 0.67627 | 310.86 | 0.6004 | 361.891 | 0.84016 | 335.406 | 2.1702 | 432.397 | 2.3369 | 627.876 | 4.12 | 357.217 | 8.6871 | 393.997 | 13.983 | 528.659 | 7.1911
6.4646 | 1.1605 | 8.9741 | 1.9248 | 12.4329 | 2.3021 | 67.5147 | 0.12491 | 17.8204 | 3.3262 | 73.5044 | 0.39528 | 47.1034 | 1.6337 | 94.9496 | 0.71308 | 102.549 | 0.94918 | 144.076 | 0.69687 | 141.082 | 1.2409 | 216.446 | 0.78258 | 289.844 | 0.70106 | 348.397 | 0.91287 | 320.327 | 2.4839 | 412.132 | 2.6935 | 606.887 | 4.7486 | 349.444 | 10.1842 | 383.118 | 17.9008 | 513.035 | 8.5236
5.8495 | 1.3921 | 8.2759 | 2.3276 | 11.5576 | 2.7645 | 60.846 | 0.14732 | 16.9683 | 3.9387 | 66.2441 | 0.48716 | 44.4936 | 1.8754 | 89.0632 | 0.81533 | 97.6457 | 1.0574 | 136.093 | 0.78572 | 133.666 | 1.4103 | 205.273 | 0.88944 | 265.163 | 0.85885 | 334.736 | 0.99485 | 308.075 | 2.8118 | 399.152 | 2.9649 | 585.428 | 5.6454 | 339.116 | 12.3399 | 374.781 | 23.0541 | 500.868 | 9.8932
5.2036 | 1.7469 | 7.7784 | 2.7124 | 10.972 | 3.2344 | 52.8441 | 0.18597 | 16.3193 | 4.6639 | 60.9069 | 0.57686 | 41.8188 | 2.1855 | 83.8765 | 0.93318 | 92.0513 | 1.197 | 127.274 | 0.91014 | 126.134 | 1.6402 | 195.262 | 0.99884 | 246.003 | 1.0262 | 320.648 | 1.1006 | 298.074 | 3.1231 | 385.809 | 3.2997 | 567.558 | 6.5133 | 331.074 | 14.8923 | 365.163 | 32.4872 | 489.969 | 11.5865
4.7748 | 2.0747 | 7.3621 | 3.2118 | 10.3952 | 3.9112 | 46.7749 | 0.22806 | 15.695 | 5.6908 | 56.3367 | 0.67695 | 40.0587 | 2.4494 | 79.7061 | 1.0543 | 87.4744 | 1.3429 | 119.862 | 1.0406 | 120.704 | 1.8401 | 187.606 | 1.1039 | 231.445 | 1.1934 | 309.31 | 1.1946 | 289.844 | 3.4724 | 370.311 | 3.7541 | 550.234 | 7.5674 | 324.843 | 17.8829 | 359.007 | 43.2003 | 479.787 | 13.7198
4.3464 | 2.5468 | 6.9751 | 3.8723 | 9.9478 | 4.7107 | 40.6235 | 0.29137 | 15.277 | 6.7656 | 52.8441 | 0.76939 | 38.4111 | 2.7342 | 75.1395 | 1.2006 | 82.4627 | 1.5416 | 113.789 | 1.1675 | 115.162 | 2.081 | 178.278 | 1.2559 | 217.097 | 1.4019 | 295.109 | 1.3269 | 282.688 | 3.8337 | 361.168 | 4.079 | 537.723 | 8.4388 | 319.049 | 21.4097 | 351.547 | 58.6653 | 472.172 | 15.8607
4.0688 | 3.0187 | 6.6815 | 4.5852 | 9.6152 | 5.5503 | 36.1019 | 0.35874 | 14.8254 | 8.2305 | 49.469 | 0.87971 | 36.9419 | 3.043 | 70.9054 | 1.3728 | 78.7553 | 1.7261 | 107.699 | 1.3216 | 111.312 | 2.2884 | 172.663 | 1.3687 | 204.863 | 1.6158 | 282.123 | 1.4723 | 277.09 | 4.1531 | 350.494 | 4.6221 | 522.875 | 9.5625 | 314.613 | 25.4788 | 344.241 | 75.9328 | 459.134 | 20.0223
3.8472 | 3.5143 | 6.4646 | 5.3433 | 9.3124 | 6.7318 | 30.8873 | 0.46853 | 14.4884 | 9.8143 | 46.2632 | 1.016 | 35.7427 | 3.4002 | 66.3767 | 1.5965 | 74.69 | 1.9676 | 102.652 | 1.4827 | 106.948 | 2.5776 | 166.724 | 1.4916 | 192.933 | 1.9019 | 269.17 | 1.6468 | 271.061 | 4.6221 | 341.84 | 5.1389 | 510.476 | 10.8032 | 309.929 | 32.2929 | 337.425 | 99.1714 | 446.011 | 27.0543
3.6559 | 4.1864 | 6.2736 | 6.2454 | 9.0191 | 8.3298 | 26.9059 | 0.60341 | 14.1165 | 12.303 | 43.8751 | 1.1398 | 34.3756 | 3.8568 | 62.5112 | 1.8623 | 71.4034 | 2.2097 | 96.6741 | 1.7192 | 102.857 | 2.9237 | 160.99 | 1.6518 | 184.259 | 2.1573 | 255.531 | 1.8698 | 264.633 | 5.2166 | 332.401 | 5.771 | 497.374 | 12.2661 | 305.926 | 41.2994 | 330.743 | 133.466 | 433.262 | 38.0479
3.4603 | 5.2114 | 6.1126 | 7.3805 | 8.7965 | 10.0829 | 24.1032 | 0.7407 | 13.8647 | 14.9969 | 41.4441 | 1.2902 | 33.5268 | 4.2667 | 58.8708 | 2.1594 | 67.5823 | 2.5545 | 91.6838 | 1.9539 | 99.5187 | 3.2409 | 155.453 | 1.8146 | 176.68 | 2.425 | 241.856 | 2.1465 | 258.357 | 5.8699 | 323.87 | 6.5198 | 484.125 | 14.025 | 301.975 | 50.1916 | 323.547 | 185.091 | 424.259 | 50.696
3.3446 | 6.2641 | 5.9557 | 8.916 | 8.5964 | 12.464 | 22.1613 | 0.87358 | 13.5766 | 19.0457 | 38.9916 | 1.4753 | 32.536 | 4.7391 | 55.4979 | 2.5265 | 64.7378 | 2.8715 | 87.1252 | 2.2319 | 97.1587 | 3.5354 | 150.557 | 1.9934 | 168.906 | 2.7866 | 229.601 | 2.4567 | 252.988 | 6.5525 | 318.093 | 7.2271 | 470.758 | 16.0361 | 297.182 | 62.4801 | 316.506 | 254.64 | 414.612 | 68.1594
3.249 | 7.5071 | 5.7855 | 11.3117 | 8.4262 | 15.2846 | 20.5394 | 1.018 | 13.4146 | 23.4025 | 36.8681 | 1.6801 | 31.6692 | 5.3594 | 52.7385 | 2.9004 | 62.0752 | 3.2376 | 82.5452 | 2.575 | 94.6651 | 3.9034 | 145.379 | 2.2252 | 161.474 | 3.1926 | 219.718 | 2.7534 | 247.979 | 7.2852 | 312.731 | 7.9553 | 456.388 | 18.6127 | 292.757 | 81.2759 | 309.31 | 347.878 | 405.59 | 90.274
3.1751 | 8.8804 | 5.6766 | 13.6924 | 8.2759 | 19.1221 | 19.4014 | 1.1466 | 13.2679 | 29.074 | 34.7906 | 1.9229 | 30.8565 | 6.0185 | 50.62 | 3.2474 | 59.5816 | 3.6213 | 77.9717 | 3.0037 | 92.1434 | 4.3572 | 139.818 | 2.5014 | 154.987 | 3.625 | 211.948 | 3.04 | 243.312 | 8.0675 | 308.692 | 8.6352 | 444.23 | 21.2179 | 287.822 | 104.883 | 305.315 | 426.176 | 397.162 | 119.444
3.0998 | 10.8573 | 5.5753 | 17.1645 | 8.169 | 23.2858 | 18.4552 | 1.2774 | 13.1753 | 35.7248 | 32.7318 | 2.2274 | 30.1247 | 6.8131 | 48.6351 | 3.6541 | 57.5323 | 4.0343 | 74.3175 | 3.4447 | 89.6888 | 4.8639 | 135.55 | 2.7562 | 149.806 | 4.0384 | 205.479 | 3.3329 | 238.255 | 9.1052 | 304.096 | 9.5053 | 435.434 | 23.4729 | 283.821 | 128.489 | 301.673 | 507.681 | 386.582 | 166.143
3.0476 | 12.9856 | 5.5033 | 20.8185 | 8.0797 | 29.016 | 17.5727 | 1.4288 | 13.0834 | 45.2792 | 31.2602 | 2.4964 | 29.5578 | 7.6281 | 46.8217 | 4.1076 | 55.4979 | 4.5761 | 71.5464 | 3.8645 | 86.4309 | 5.6851 | 132.601 | 2.9768 | 144.654 | 4.5624 | 199.605 | 3.625 | 233.771 | 10.4316 | 298.671 | 10.5999 | 426.812 | 26.281 | 278.201 | 167.477 | 298.97 | 570.124 | 378.17 | 227.204
2.9962 | 16.2297 | 5.4486 | 25.377 | 8.0073 | 35.8322 | 16.7826 | 1.5854 | 13.0442 | 55.4149 | 29.7952 | 2.8316 | 29.0015 | 8.7744 | 45.0758 | 4.6592 | 53.6964 | 5.1235 | 68.8098 | 4.3486 | 84.6348 | 6.3145 | 128.553 | 3.3529 | 140.941 | 4.997 | 192.933 | 4.0062 | 228.913 | 12.303 | 294.225 | 11.8442 | 416.69 | 30.4427 | 273.785 | 213.119 | 297.776 | 605.984 | 369.571 | 303.339
2.9605 | 19.5084 | 5.3943 | 30.9956 | 7.9514 | 44.8735 | 15.9641 | 1.7822 | 13.0312 | 69.328 | 28.2854 | 3.2539 | 28.4272 | 10.2455 | 43.5255 | 5.2796 | 52.1616 | 5.7078 | 67.1109 | 4.7249 | 83.0419 | 6.9091 | 124.754 | 3.7842 | 138.427 | 5.4403 | 187.231 | 4.4099 | 225.055 | 14.1518 | 289.554 | 13.3677 | 406.402 | 35.334 | 268.632 | 281.139 |  |  | 360.807 | 405.797
2.9281 | 23.3324 | 5.346 | 38.5073 | 7.9276 | 55.1385 | 15.3229 | 1.9736 | 12.9792 | 86.6476 | 27.0137 | 3.6982 | 27.8922 | 11.9155 | 42.2391 | 5.9349 | 50.8228 | 6.3334 | 65.1274 | 5.2166 | 81.479 | 7.6434 | 121.309 | 4.3053 | 135.957 | 5.9646 | 182.426 | 4.7867 | 222.37 | 15.829 | 285.815 | 14.7736 | 395.181 | 41.7979 | 264.104 | 358.114 |  |  | 354.725 | 510.736
2.8932 | 28.6412 | 5.2981 | 47.6483 | 7.9197 | 68.4326 | 14.6926 | 2.1855 | 12.9403 | 107.002 | 25.8768 | 4.1697 | 27.4769 | 13.9411 | 40.9907 | 6.7791 | 49.568 | 7.1267 | 63.2659 | 5.7999 | 79.7858 | 8.5835 | 118.551 | 4.7438 | 134.336 | 6.3716 | 178.635 | 5.1906 | 219.718 | 17.6696 | 282.688 | 16.4421 | 381.97 | 50.2921 | 260.172 | 438.278 |  |  | 351.196 | 577.584
2.8701 | 34.2212 | 5.2611 | 59.5519 | 7.9038 | 84.7622 | 14.1165 | 2.4323 | 12.9273 | 130.171 | 24.9618 | 4.6452 | 27.0949 | 16.3274 | 40.1389 | 7.4472 | 48.441 | 7.9236 | 61.8274 | 6.3145 | 78.5194 | 9.5816 | 115.393 | 5.4078 | 132.203 | 6.9507 | 174.748 | 5.6398 | 216.663 | 20.4676 | 279.316 | 18.2077 | 370.681 | 59.1365 | 257.326 | 516.902 |  |  | 349.794 | 604.169
2.8501 | 41.4234 | 5.2401 | 73.9101 | 7.8802 | 105.514 | 13.6856 | 2.6402 | 12.9273 | 161.555 | 24.1515 | 5.1647 | 26.745 | 19.4111 | 39.3835 | 8.1731 | 47.5293 | 8.9338 | 60.4216 | 6.9438 | 77.2731 | 10.7601 | 112.995 | 6.079 | 130.626 | 7.5977 | 171.802 | 6.1156 | 212.585 | 25.0743 | 277.09 | 20.1025 | 357.932 | 71.7974 | 254.256 | 582.223
2.8245 | 50.7468 | 5.214 | 97.8905 | 7.8644 | 131.479 | 13.3077 | 2.8888 | 12.9144 | 205.583 | 23.5081 | 5.7021 | 26.4259 | 23.1697 | 38.7196 | 9.1417 | 46.7281 | 9.8833 | 59.0477 | 7.6894 | 75.8188 | 12.3153 | 110.426 | 6.8541 | 128.682 | 8.4136 | 168.737 | 6.6515 | 210.049 | 28.8135 | 273.785 | 22.7109 | 345.967 | 85.3576 | 253.241 | 609.021
2.8077 | 59.7308 | 5.1984 | 121.613 | 7.833 | 164.654 | 12.8757 | 3.2215 | 12.9273 | 250.348 | 22.9048 | 6.3398 | 26.1368 | 27.1627 | 38.1431 | 10.1031 | 45.9864 | 10.9774 | 57.8785 | 8.5407 | 74.9144 | 13.7198 | 108.131 | 7.7745 | 127.274 | 9.2706 | 165.396 | 7.3144 | 208.167 | 32.5522 | 271.061 | 25.4533 | 334.736 | 101.174
2.7797 | 73.4679 | 5.188 | 150.483 | 7.8018 | 199.906 | 12.5202 | 3.5746 | 12.9144 | 303.642 | 22.3616 | 7.084 | 25.8768 | 33.1435 | 37.5002 | 11.3912 | 45.3925 | 12.3153 | 56.846 | 9.5434 | 73.7991 | 15.5622 | 105.672 | 9.0507 | 125.63 | 10.3692 | 162.771 | 8.1486 | 206.096 | 37.444 | 268.901 | 28.5554 | 328.436 | 113.505
2.7466 | 91.2725 | 5.1932 | 188.83 | 7.7862 | 249.099 | 12.1502 | 4.0546 |  |  | 21.7224 | 8.214 | 25.6706 | 39.7197 | 37.0529 | 12.9726 | 44.9408 | 13.7611 | 55.9997 | 10.7386 | 73.0647 | 17.4065 | 103.787 | 10.266 | 123.76 | 11.8798 | 160.187 | 9.2059 | 203.842 | 43.4603 | 267.292 | 31.6218 | 321.29 | 127.211
2.7165 | 112.826 | 5.1828 | 230.177 | 7.7396 | 302.128 | 11.7558 | 4.7343 |  |  | 21.2923 | 9.1325 | 25.517 | 49.6922 | 36.7209 | 14.3227 | 44.3604 | 15.4536 | 55.2764 | 12.0112 | 72.2654 | 19.6062 | 102.242 | 11.6446 | 121.917 | 13.9411 | 156.232 | 10.8356 | 201.41 | 49.0504 | 264.104 | 35.0876 | 311.794 | 146.621
2.6895 | 141.012 | 5.1673 | 267.161 |  |  | 11.4198 | 5.5447 |  |  | 20.9543 | 10.174 | 25.3644 | 59.9702 | 36.3192 | 16.5907 | 43.9629 | 17.3544 | 54.7264 | 13.1819 | 71.4749 | 22.6882 | 100.518 | 13.1161 | 120.342 | 16.2622 | 153.906 | 12.1077 | 199.008 | 56.8746 | 260.432 | 39.3245 | 301.673 | 167.143
2.6574 | 172.923 | 5.157 | 301.223 |  |  | 11.1489 | 6.4163 |  |  | 20.56 | 11.5403 | 25.2127 | 72.3741 | 36.0658 | 18.9887 | 43.7436 | 19.3143 | 54.1277 | 14.8477 | 70.8345 | 26.9732 | 99.1214 | 14.9819 | 119.384 | 18.299 | 151.463 | 13.5562 | 196.045 | 67.4137 | 257.326 | 44.8735 | 295.404 | 181.064
2.631 | 216.123 |  |  |  |  | 10.8846 | 7.4846 |  |  | 20.2336 | 13.0768 | 25.0618 | 91.0901 | 35.707 | 23.1003 | 43.2218 | 22.3952 | 53.5356 | 16.6906 | 70.3404 | 31.0887 | 97.9391 | 17.0107 | 118.432 | 20.9858 | 149.357 | 15.3765 | 194.094 | 77.6219 | 254.002 | 51.5137 | 290.134 | 197.719
2.6152 | 247.857 |  |  |  |  | 10.6371 | 8.916 |  |  | 19.833 | 15.2388 | 24.9119 | 109.601 | 35.3871 | 28.2995 | 42.8775 | 25.3517 | 52.897 | 18.706 | 69.6405 | 36.6659 | 96.6741 | 19.4694 | 117.842 | 23.1697 | 146.84 | 18.0445 | 191.779 | 89.5547 | 249.471 | 61.0595 | 284.958 | 221.373
2.5944 | 301.826 |  |  |  |  | 10.4369 | 10.5681 |  |  | 19.5377 | 17.6166 | 24.7381 | 136.708 | 35.0349 | 35.193 | 42.5358 | 29.6317 | 52.3706 | 21.4526 | 69.1547 | 43.1571 | 95.7122 | 22.0177 | 116.786 | 26.9194 | 144.22 | 21.4097 | 189.681 | 102.601 | 246.495 | 70.3757 | 280.435 | 247.609
[6 empty] | 10.22 | 12.3894 |  |  | 19.2853 | 20.632 | 24.6394 | 165.645 | 34.7906 | 41.9655 | 42.2391 | 34.9824 | 51.8495 | 24.309 | 68.6037 | 51.0522 | 94.8546 | 24.8248 | 115.624 | 31.5902 | 142.073 | 24.4797 | 187.231 | 118.848 | 243.068 | 81.2759 | 276.813 | 276.124
[6 empty] | 10.0276 | 14.7884 |  |  | 18.9792 | 24.9992 | 24.443 | 201.915 | 34.4444 | 50.4432 | 41.9864 | 40.8067 | 51.2823 | 28.2713 | 68.057 | 59.1365 | 94.2872 | 28.1021 | 114.702 | 36.6659 | 139.958 | 28.7847 | 185.183 | 135.754 | 240.409 | 93.6767 | 273.785 | 303.642
[6 empty] | 9.839 | 18.2259 |  |  | 18.6967 | 30.5036 | 24.3211 | 241.495 | 34.2041 | 59.9103 | 41.6935 | 48.6109 | 50.7213 | 32.8794 | 67.6499 | 67.7516 | 93.7232 | 32.2606 | 113.448 | 43.7218 | 137.187 | 36.2285 | 183.157 | 157.724 | 237.779 | 107.753 | 270.519 | 342.356
[6 empty] | 9.6828 | 21.6465 |  |  | 18.4552 | 36.0478 | 24.1756 | 277.231 | 33.9316 | 68.9822 | 41.5271 | 57.1596 | 50.1163 | 39.3638 | 67.178 | 77.8551 | 93.0694 | 36.8865 | 112.207 | 52.2922 | 134.874 | 43.4168 | 180.791 | 184.906 | 234.943 | 126.197 | 267.827 | 382.547
[6 empty] | 9.5386 | 26.1761 |  |  | 18.2533 | 42.2603 | 24.1273 | 299.721 | 33.7286 | 80.6283 | 41.2787 | 66.2111 | 49.7667 | 45.7342 | 66.7094 | 90.4547 | 92.2356 | 42.2603 | 110.757 | 63.8061 | 133.399 | 50.5947 | 178.635 | 213.759 | 232.373 | 149.433 | 265.428 | 433.917
[6 empty] | 9.4343 | 32.4223 |  |  | 18.1079 | 49.0504 |  |  | 33.5268 | 97.1105 | 41.0317 | 79.1108 | 49.2715 | 56.2524 | 66.3103 | 105.937 | 91.5006 | 49.3456 | 109.327 | 76.9264 | 132.203 | 59.0183 | 176.857 | 241.979 | 229.601 | 173.443 | 263.84 | 495.641
[6 empty] | 9.3404 | 40.9293 |  |  | 17.8919 | 58.6653 |  |  | 33.3263 | 116.962 | 40.8271 | 93.6767 | 48.9768 | 67.9552 | 65.782 | 123.822 | 90.7715 | 56.3086 | 107.915 | 95.1876 | 130.235 | 71.7974 | 175.448 | 273.924 | 227.316 | 203.334 | 262.262 | 553.827
[6 empty] | 9.2845 | 51.1544 |  |  | 17.7493 | 69.328 |  |  | 33.0277 | 145.889 | 40.6235 | 109.054 | 48.6351 | 78.795 | 65.2578 | 143.574 | 89.8683 | 66.0128 | 106.414 | 120.043 | 128.553 | 88.7523 | 174.05 | 301.524 | 225.055 | 242.706 | 261.738 | 596.962
[6 empty] | 9.229 | 63.1712 |  |  | 17.5903 | 82.0107 |  |  | 32.7318 | 176.24 | 40.4209 | 128.361 | 48.441 | 90.9991 | 64.8674 | 166.309 | 89.1523 | 77.3893 | 105.356 | 142.857 | 126.766 | 108.836 |  |  | 223.038 | 283.681
[6 empty] | 9.1921 | 82.9178 |  |  | 17.4327 | 99.3699 |  |  | 32.536 | 205.789 | 40.2595 | 150.633 | 48.1512 | 105.725 | 64.3506 | 195.361 | 88.177 | 91.8218 | 104.099 | 172.233 | 125.63 | 133.333 |  |  | 221.482 | 336.922
[6 empty] | 9.1738 | 110.371 |  |  | 17.2765 | 116.262 |  |  | 32.3737 | 232.258 | 40.0587 | 182.153 | 47.911 | 126.957 | 63.8378 | 226.071 | 87.4744 | 106.255 | 102.96 | 208.69 | 124.256 | 167.813 |  |  | 219.937 | 396.967
[6 empty] | 9.1646 | 147.355 |  |  | 17.1388 | 137.393 |  |  | 32.18 | 270.116 | 39.8589 | 208.065 | 47.6721 | 154.911 | 63.2659 | 267.963 | 86.8642 | 121.249 | 101.834 | 245.39 | 123.142 | 201.915 |  |  | 219.059 | 452.529
[6 empty] | 9.1554 | 192.645 |  |  | 17.0533 | 163.833 |  |  | 32.0516 | 300.321 | 39.7395 | 234.124 | 47.5293 | 184.352 | 62.8874 | 301.223 | 85.9999 | 141.719 | 101.123 | 273.924 | 122.774 | 236.477 |  |  | 218.403 | 518.974
[6 empty] | 9.1554 | 226.977 |  |  | 16.9683 | 195.361 |  |  |  |  | 39.6205 | 267.696 | 47.3869 | 217.424 |  |  | 85.4 | 165.149 | 100.418 | 300.922 | 122.161 | 271.741 |  |  | 217.749 | 567.848
[6 empty] | 9.1463 | 275.297 |  |  | 16.8836 | 235.768 |  |  |  |  | 39.3835 | 298.823 | 47.3395 | 248.601 |  |  | 84.7195 | 192.068 |  |  | 121.795 | 301.524 |  |  | 217.531 | 602.961
[6 empty] | 9.1372 | 305.47 |  |  | 16.8331 | 264.767 | [6 empty] | 47.1977 | 278.621 |  |  | 83.9604 | 227.887
[10 empty] | 16.8162 | 300.922 | [6 empty] | 47.1977 | 300.621 |  |  | 83.2082 | 266.36
[22 empty] | 82.6278 | 301.524